## Backup Policy Home
BACKUP & RESTORATION DOCUMENT
Backup Server and Client Architecture
OS and Third Party Backup Tool Use
Backup Policy
Backup Media/Location
Backup Retention
Backup Restoration
Backup Log Management
Backup/Restore Test Case
General Guidelines for Backup and Recovery

## Backup Server Client Architect
BACK

## OS-Third Party Backup Tool Use
BACK |  | OS and Third Part Backup Tool Used
| Serial No. | Third Party Backup Tool type | Installation and Configuration Document
| 1 | Linux Inbuilt command for operating Tape Library and backup command: mtx, mt and tar
| 2 | Symantec Backup EXEC

## Backup Policy
BACK
Backup Policy Detail
Backup Policy is required for configuring automatic data backup with less user intervention. It ensure us that data is backed up on regular basis without or less System Administrator intervention
Below is an example of Backup Policy configured in HP DP 6.11
| S.no | Policy Name | Volume Pool | No of cartridge/tape in pool | Backup Type | Backup window | Remarks
| 1 | RMAN | DB-RMAN | 1 | Daily Full | Daily 03:30 AM
| 2 | N/A | FREE POOL | 1 |  | N/A | Free Pool
| 3 | AppBkp | APP LOG | 6 | Weekly Full | Daily 01:30 AM
| 4 | FS-OS-BKP-SRV | FS-OS | 1 | Weekly Full | Friday 10:00 PM
| 5 | FS-OS-DB1-SRV | FS-OS | 1 | Weekly Full | Sunday 10:00 PM
| 6 | FS-OS-DB2-SRV | FS-OS | 1 | Weekly Full | Saturday 10:15 PM
| 7 | Backup Software DB(example in HP there is an IDB) | IDB | 1 | Daily Full | Daily 8:00 AM
| 8 | ExportBkp | EXPORT POOL | 1 | Daily Full | Daily 06:00 AM
Below is an example of Backup Policy configured in Symantec Backup Exec 2012
| S.no | Policy Name | Name of Media Set | Backup client hostname | Mount Points | No of cartridge/tape in pool | Backup window
| 1 | RMAN Daily Full Backup | DB-backup-mediaset | dbserver02 | /backup | 4 | Daily 04:00 AM
| 2 | Backup Exec DB 5th day Full Backup | Backpserver-mediaset | bkpsrv | MS SQL Express(Backup exec DB) | 1 | Every 5th day 10:00 AM
| 3 | Cleaning Media Policy | none | bkpsrv | Tape drive | 2 | Every 4th day 02:00 PM

## Backup Media-Location
BACK
Backup Media/Location
| 1 | scp/sftp the source data to backup server mount point thru cron job on daily basis example: scp or sftp the DB export and log data to backupserver's /backup mountpoint thru network.
| 2 | Thru Regular RMAN policy data can be backed up in DB server /backup mount point after backup server can take the backup from this location.
| 3 | Backuped up data transferred to TAPE using Symantec Backupexec tool.
| 4 | See the Backup Policy for details

## Backup Retention
BACK
Backup Retention Period
Backup Retention period is define for retaining the backed up data on tape cartridge for certain period of time. So that in case of data loss data be should be available for restoring also once retention period is over same media shall be recycle and ready for getting new data backup
Sample of HP DP 6.11 Backup Retention Policy
| S.no | Description of Backup Policy Name | Volume Pool | Retention Period
| 1 | Daily-RMAN | DB-RMAN | 7 Days
| 2 | N/A | FREE POOL
| 3 | Weekly- AppBkp | APP LOG | 7 Days
| 4 | Weekly-FS-OS-BKP-SRV | FS-OS | 1 Week
| 5 | Weekly- FS-OS-DB1-SRV | FS-OS | 1 Week
| 6 | Weekly- FS-OS-DB2-SRV | FS-OS | 1 Week
| 7 | Daily-Backup Software DB(example in HP there is an IDB) | IDB | 7 Days
| 8 | Daily- ExportBkp | EXPORT POOL | 7 Days
Sample of Symantec Backup Exec 2012 Backup Retention Policy
| S.no | Policy Name | Name of Media Set | Backup Retention Period
| 1 | RMAN Daily Full Backup | DB-backup-mediaset | Each Day Backup will be retain for 4 days
| 2 | Backup Exec DB 5th day Full Backup | Backpserver-mediaset | Each Day Backup will be retain for 5th days.

## Backup Restoration
BACK
Backup Restoration
Like taking a backup of data in regular basis is necessary and make sure backed up data integerity. Like vise Restoration of data is also crucial and making it sure that required and concern data is available on tape cartridge at the time of disaster.
Data can be restored from three ways also depend what media or process was used for taking data backup on media.
| Serial No. | Description of Data Restoration | Document
| 1 | Restoration thru inbuilt OS command
| 3 | In the event of Linux Server crashed (Disaster)we can use Bare Metal Recovery feature of some Backup Software. For using this feature OS shall be backed up thru that backup software Disaster recovery tool on regular basis.
PARTITION
DETAILS
PACKAGES

## Log Management
BACK
Log Management
Management of Log is necessary since it report the System Admin in case of backup failure or any issue occur in tape Library. Below is the method of managing Log of HP DP and Symantec Backup Exec2012
| Serial No. | Description of Log management in Third Party Backup Software | Document
| 1 | To Configure Log reporting in HP DP
| 2 | To configure Log reporting in Symantec Backup EXEC

## Backup-Restore Test Cases
BACK
Test Cases for Data Backup and Restoration
In this section we have covered the How to check whether tape drive /Library is detecting in Linux and Test cases of Backup and Restoration procedure from:
1. Linux inbuilt command.
| Serial No. | Description of Test cases | Command/Document
| 1 | First of all check whether tape drive and Media changer is detecting in Linux or not. | 1. Check the Tape drive from command: dmesg ¦ grep tape 2. Check the Tape Library Model and Media changer scsi description thru command: cat /proc/scsi/scsi
| 2 | Data Backup/Restoration testing thru Linux inbuilt command.
| 3 | Data Backup/Restoration testing thru from third party backup software(Example is given of HP DP).

## Guidelines
General Guidelines
Below Embeded document contains General Guidelines for Backup and Recovery