 info-tech research group

	[image: image1.png]



	Server Room/Data Center Checklist


	Checklist: Server Room/Data Center
	Completed

	
	Yes
	No
	N/A

	Find central location for server room: identify on master plan.
	
	
	

	Ensure that server room location is no more than 100m (330 feet) total from any wiring closet.
	
	
	

	Proposed server room is large enough to space apart equipment and accommodate future growth.
	
	
	

	Proposed server room has an area ratio roughly equal to 0.75 square feet per 100 square feet of user workspace.
	
	
	

	Reasonable distance away from water pipes, steam pipes, kitchens, or any other source of moisture.
	
	
	

	Determine physical location of servers within the room.
	
	
	

	Confirm minimum electrical requirements for server room (e.g. 30 amps on dedicated circuit).
	
	
	

	Form a floor plan of server room: identify location of equipment.
	
	
	

	Check for/have installed fire-rated door(s).
	
	
	

	Install fire, water, smoke, and power quality detectors.
	
	
	

	Determine and install optimal fire suppression system.
	
	
	

	Ensure server room air quality with filters, air conditioner or heater, and humidifier/dehumidifier.
	
	
	

	Install anti-static flooring, raised flooring, and/or server pedestals.
	
	
	

	Mount patch panel(s) for voice and data. 
	
	
	

	Install and test surge protectors and UPS.
	
	
	

	Install racks, server equipment, and other IT furniture.
	
	
	

	Install servers and boot up.
	
	
	

	Test all connections.
	
	
	


Page 1

