## ONsite activity Efforts
S.No. | Assumptions | Responsibility |  | Remarks
1 | Insurance of Exisitng HW during transport | VF Mumbai
2 | Packing Boxes and physical packing of boxes by VF Mumbai Vendor | VF Mumbai
3 | Packers and Movers will transport the hardware safely | VF Mumbai
4 | No change in ip subnet | VF Mumbai
5 | log case with HP and respective OEM for changing the location and warranty continuity and there procedure to follow. | VF Mumbai
6 | HP storage disks should not be remove from storage | VF Mumbai
7 | Existing Network cable, power cable, stack cables, kvm switch cables should be reused at new site if possible | VF Mumbai
8 | In case any cable( Network cable, power cable, stack cables, kvm switch cables) can't be reused at new site,new cables should be provided by VF Mumbai | VF Mumbai
9 | All hardware should be in active support | VF Mumbai
10 | Racks position and distance in new data center should be similar to existing site. | VF Mumbai
S No | Stages | Responsibility |  | Remarks
Large
| Phase Activitye Descripton | Role | Onsite
Existing site Activity
| Rack verfication | Comviva | 4
| Checking on connectvity between hardware equipment (switch, LB, Firewall, and server etc ) and take link status of all devices | Comviva
| TOR-mapping sheet verfiy | Comviva
| Data backup of application | Comviva
| Collect sosreport in all servers | Comviva
| copy/backup or notedown the Configuration of all Network devices | Comviva
| Configuration backup of all network devices | Comviva
| Network Devices Health status verfication | Comviva
| Label in all exsiting HW (HDD,stacks cables,powercables) | Comviva
| Graceful shutdown of all devices | Comviva
| Dismantle exsiting HW and safely transport to new site | VF Mumbai
| Dismantle exsiting newtwork cable and safely transport to new site | VF Mumbai
| Insurance of Exisitng HW during transport | VF Mumbai
| Packing Boxes and physical packing of boxes by VF Mumbai Vendor | VF Mumbai |  | comviva to supervise
| Packers and Movers will transport the hardware safely | VF Mumbai
| No change in ip subnet | VF Mumbai
| log case with OEM to change address of Hardware location and warranty continuity and their procedure to follow. | Comviva/VF Mumbai
| HP storage disks should not be remove from storage | Comviva
| Existing Network cable, power cable, stack cables, kvm switch cables should be reused at new site, | Comviva
| Server and storage disk should be labeled | Comviva
New Site Activities
1 | Before travel
1.1 | Delivery of hardware from exiting location to New location | VF Mumbai
2 | Prerequisites Check Up (onsite activity) & Rack installation
2.1 | Site verification Rack location Power till Rack Earthing/Grounding Environmental details cooling Tile cutting Uplink cable laying | VF Mumbai
2.2 | Reconcilation of delivered boxes w.r.t. Packing list/POD (Proof of delivery) | Comviva/VF Mumbai
2.3 | Un-Packing of Hardware at Installation Site | Comviva
2.4 | Physical Verification of hardware with respect to boxes delivered by Packers and Mover | Comviva
2.5 | Cross-Checking With Packing List | Comviva
2.6 | Hardware delivery sign off from customer | Comviva
2.7 | pre-requisite verification | Comviva
2.8 | Rack installation as per PDD (floor plan) to be provided during deployment | Comviva
2.9 | Grouting and Earthing of Rack | VF Mumbai
3 | Hardware Installation - Servers, Switches, Storage and Tape Drives | Summ
3.1 | Mounting of all The Hardware in the Rack | Comviva | 4
3.2 | Power connectivity in Rack( as per MOP shared to customer) to be done during maintainance window in night | Comviva/VF Mumbai |  | to be done in off peak hours
3.3 | Powering on the Servers, Switches & Testing of All Hardware after Integration | Comviva/VF Mumbai |  | to be done in off peak hours
3.4 | Validation of Firmware & BIOS Versions of The Servers | Comviva
3.5 | Validation of fencing and net MGMT Servers | Comviva
3.6 | Validation of RAID & Logical Drive (As Per Solution document PIC) | Comviva
4 | Storage configuration & verification | Summ
4.1 | Mounting of all The Hardware in the Rack | Comviva | 2
4.2 | Intergation of add-on Components (HBA modules, Hard Disks etc.) | Comviva
4.3 | Powering on The Storage and Initial Testing | Comviva
4.4 | Validation of Firmware & BIOS Versions of controller/disk | Comviva
4.5 | Validation RAID configuration as per Solution document PIC | Comviva
5 | LB configuration - F5 | Summ
5.1 | Physical mounting in RACK | Comviva | 1
5.3 | Validation of policy as per services ( provided by comviva in Deployment approach ) | Comviva
5.4 | Configuration verification | Comviva
5.5 | Load Balancing testing (HA/Active/Active) | Comviva
6 | Network configuration (Firewall and Switches) | Summ
6.1 | Firewall & Switches installation and configuration as per PDD | Comviva | 2
6.2 | Access rule/Policy configuration Validation | Comviva
6.3 | Integration with customer network as per MOP shared with customer | Comviva/VF Mumbai
7 | QAT Preparation | Summ
7.1 | Cabling Labeling and dressing as per requirement | Comviva | 2
8 | Operating System validation | Summ
8.1 | Validation of OS per audit sheet to be prepared during deployment | Comviva | 1
9 | Document updatation
9.1 | All document updates | Comviva | 3
9.2 | preparation of Audit report | Comviva
10 | Database Installation and validation | Summ
10.1 | Validation of DB as per audit sheet to be prepared during deployment | Comviva | 3
11 | Ready for Hardware UAT
11.1 | Internal Hardware UAT | Comviva | 4