# Site-Survey checklist

:

- Contents

1.	Summary	3

Table 2:  Basic information regarding hardware to be installed	3

Table 3:  Basic information of Datacenter where new server’s to be installed	3

Table 4:  Physical Survey	3

Table 5:  Post Survey Remedial Actions	7

# Summary

This Site Survey Checklist Template can be used to record the details of a customer’s existing network/infrastructure as part of a physical assessment.

| Table 1: Site Survey address and Contact Details |  |  |
| --- | --- | --- |
| Site Name |  |  |
| Site Address |  |  |
| Common Room Name | None |  |
| Date of Survey |  |  |
|  | Name | Contact No |
| Site Contact |  |  |
| Surveyed by |  |  |
| Supplier #1 |  |  |
| Supplier #2 |  |  |
| Source: ComvivaTM |  |  |

| ## Table 2: Basic information regarding hardware to be installed |  |
| --- | --- |
| Equipment to be supplied and installed |  |
| Equipments to be re-installed |  |
| Network Cabling ports required as per the PIC |  |
| Network Cabling ports required as per site existing active condition |  |
| Network availability to connect IN , USSD , Billing system, SMSC , E1 and Geographically apart equipments |  |
| Details of Bandwidth allocated and Network letancy |  |
| Source : ComvivaTM |  |

| ## Table 3: Basic information of Datacenter where new server’s to be installed |  |  |
| --- | --- | --- |
| - S. No | - Particulars | Remarks |
|  | - Site drawings available? | Yes/No Yes If yes: Photograph attached What is date on the drawings? e.g. dd/mm/yy |
|  | - Common Room layout drawing available? | Yes/No NO If yes: Is it up to date? Yes/No |
|  | - External duct plans available? | Yes/No NO If yes: Are they up to date? Yes/No |
|  | - Site Network Layouts Available? | Yes/No Yes If yes: Do they show fiber & cabinet interconnections? Yes/No |
|  | - ISP/ network provider’s connection schematic available? | Yes/No NO If yes: Are they upto date? Yes/No |
|  | - Existing rack layouts available? | Yes/No NO If yes: Do they match with what is in the cabinets? Yes/No |
|  | - User patching documentation available? | Yes/No NO If yes: Have they been kept up to date? Yes/No |

If any remedial action is required – please make a note of it in the post survey remedial actions section at the end of the survey.

| ## Table 4: Physical Survey |  |
| --- | --- |
| Baseline Requirement |  |
| - Access to Site | What are the hours of access to the site? e.g. 24/7, 8/5 On which days of the week e.g. All Days, working days Any Special Restrictions? |
| Secured access to room | Tick One: Badge Lock Button Pad Key No Lock Contact for Badge/Key/Key code: Phone Any Special Restrictions? Entry Should be made in register How is room Identified:- Number or Name:- Server Room Is access to the room logged? YES in Register Yes/No |
| Lighting in room | Tick One: Good Adequate Poor Will lighting be obstructed by installation of any new racks etc. NO What type of lighting exists:- Tube Bulb others (pls specify) _____________ Is lighting switch in same room:- NO Is lighting shared with another room:- NO Comments: _______________________________________________________ |
| Telephone in room | Is there a telephone in the room? What’s the Number:- __ _________ Dial Tone? YES International Calls enabled? NO Calls to Cell Phones enabled? YES Are Cell Phones Allowed in room? YES Do Cell Phones Work in Room? YES Network tested e.g., Cell net, Remote login , VPN? _Not Tested_________________ |
| General state of room | What is the general tidiness of the room? Good Adequate Poor Is the room Dry ? YES Does the room have another use e.g. store room? _____NO___________________ Comments: _______________________________________________________ _________________________________________________________________ |
| Cooling & ventilation | Tick One: Good Adequate Poor What is the cooling rating on the Air Conditioning? ____High___________________ What type of units are they and how many:- ________Centralized_____________________ Is the environment monitored for temp/humidity? Yes Insert Digital Photo / other comments if needed ___Inserted_______________________ __________________________________________________________________ |
| Smoke detector & fire rating | Is a Smoke Detector fitted? Yes What fire protection equipment is available:- ____Not Sure_______________ What is the fire rating in hours ? _____ Not Sure _________________ |
| Raised Floor | Does the room have a raised floor ? Yes Is there plenty of space available in the floor void? Yes What is the depth of the floor void:- _ Not Sure ______ Is the floor void a mess of cables or well organized ? _ well organized _____ |
| Unusual or Dangerous H & S | Is there anything unusual or dangerous of note in or about the room e.g. water pipes over the installed racks? NO Any Heath & Safety Hazards:- YES Comments: _______________________________________________________ |
| Equipment rack specification | Number of Racks: 1 2 3 4 5 6 7 8 9 10 Height, Width, Depth: _________ _________ Number and height of available space: _________________ Number of ports available in each switch:- _________________________ Number of ports used:- _________________ How many spare Ethernet ports are available on the routers? ________ Does any Fixed cabling restrict the depth available for Network Hardware? NO Will any patching significantly restrict ability to install Network Hardware? NO Is there any space for new racks? YES If yes then How Many? __Complete New Room Are Rack Key’s available or needed:- YES Are there any rack ID marks:- _______NO________________________________ Comments: _____________________________________________________ Mention as below with number of units taken for each equipment : |
| Access around equipment racks | Is there adequate clearance around the racks to work? YES Can the floor tiles be lifted around the racks ? YES What’s the size of the room, including height:- ________25*20*12______ Comments: _______________________________________________________ |
| Electrical earthing of racks | Are the racks properly connected to earth? YES |
| Electrical power availability in racks | How many spare sockets are there in each rack? Rack 1 ______ Rack 2 ______ Rack 3 ______ Rack 4 ______ Is power strip connected via a UPS:- YES How many spare sockets on P/Strip:- _____________Not Known___________________ How is power strip mounted in Racks:- _____________Through the Cord_________________ For resilient configurations, is the power available on separate circuit breakers per Rack? YES |
| Power conditioning / UPS installed | Is a power conditioning unit installed? YES Is a UPS installed? YES Model of the UPS ______________________ What is the rating of the UPS? ______________________ What are the power requirements of any existing devices that will continue to use the UPS after the installation of the new network hardware? _________________________________________________________________ Is the UPS properly serviced – are the batteries tested and within certification? Yes/No What Warranty remains on UPS:- Comments: _______________________________________________________ |
| Cable feeds to racks and patch panels | Are the Cables dressed correctly? YES Is Cable Management installed in the Cabinets? YES Are cables fed from Floor or Ceiling:- ____YES_____ Number of existing outlets installed on patch panel:- ___NA_______ Number of existing outlets patched into patch panel:- __ NA ________ (i.e. no of live ports) |
| Copper cable specification & termination | Cable Type: Cat 5 Cat 5E Cat 6 Others (Pls specify): _________ Cable Termination: RJ45 Other: _________ Randomly selected cables tested (up to 10) NO (attach test results to this checklist) |
| Fibre optic cable specification & termination | Cable Type: S/Mode MMode Type: _________ Cable Termination: SC ST Others: (Pls Specify) _________ Fiber optic cables tested? Yes/No (attach test results to this survey) NOT Sure |
| LES Circuits | Are there any LES circuits? NOT Sure Yes/No If yes What is the speed of the link? _________Mbps Termination location of Leased circuit / ISDN circuit : Server Room / ATM room |
| Patch panel location & arrangement | Inter/Uplinks Number and destination: __________________________________________________________ ___________________________________________________________________________________________ ___________________________________________________________________________________________ Length of Patch Leads required between Inter/Uplinks and location of Network Hardware: Fiber: _________________________________ Copper: ___________________________________________ |
| Provision for inter-rack patching | Are there any inter rack patch panels? YES |
| Patch Panel Labelling | Are the patch panels well labeled? NO |
| Equipment Labelling | Is the Existing Equipment well labeled? NO |
| Patch Cable colour coding | Is the patch cable color scheme in use? YES Is it being adhered to? NO |
| Cabling general | Are cable routes acceptable? YES Is containment (cable trays/trunking) acceptable? YES |
| Documentation | Is the existing installation well documented? Not Sure Take a copy of the documentation if possible. Documentation not given by security. |
| Existing Network equipment for this platform | List existing Network appliances: (Device Type) (Asset Label) (No of 10/100TX Ports) (No 100FX Ports) ___________ __________ ___________________ ______________ ___________ __________ ___________________ ______________ ___________ __________ ___________________ ______________ |
| Storage Space | Is there a secure area to store equipment prior to installation? YES Is there a person to take delivery of equipment and move it to storage space? NO Name: __________________ Phone: __________________ |
| Building Type | Is Building a Listed, if so what grade:- _________Kind of Residential Apartment_____ How many Floors in the building:- _____2_____________ Floor in which rack room is:- __________1st________________________________ Did Rack room have Windows:- NO Is rack room exposed to Sun light:- YES |
| Emergency procedures | What emergency procedures are in place? _______Not Sure______ |
| Network | ISP link is available. YES |
| External Component readiness | Availability of IN YES Availability of Billing interface YES Availability of SMSC Details YES Availability of short code to be used for application YES Short code defined as toll free on HLR (or as per operator’s policy) YES |
| Communication Media | Emails and Cell phone |

| # Table 5: Post Survey Remedial Actions |  |  |
| --- | --- | --- |
| No. | Remarks | Acceptance from Customer’s representative (Yes / No) |

FOR CJPL				                              FOR Customer’s representative

Name           						Name

Designation						Designation

Signature						Signature

Date 							Date

Place							Place