## Checklist-SiteRediness
Check List for Site readiness
S. NO | Category | Information required | Required | Collected | Remark/Artifacts
1 | Contact Person details | Contact person Name, Phone Number, Email address. | YES | YES | Raju Nandi/ Saurabh Srivastava +91-9811918810/ +91 7290059175 (DEL) raju.nandi@Vodafone.com, saurabh.srivastava13@vodafone.com
|  | Site address / Mode of Conveyance | YES | YES | Vodafone Mobile Service Ltd. Plot No. 102, Udyog Vihar Phase- I Sector-20, Gurgaon
2 | Physical | Rack Position is identified. | YES | YES | NEW RACK_SDC05 (same laocation same floor next to SDC-3-4 rack )
|  | Service Area in front and back side of the rack. | YES | YES | YES
|  | Which Power connectors are used for distibution the power to Rack. Is it Nema or normal Connector. Please refer the attached connector file. | YES | YES | 32 Amp nema connector (PDU power cable should be 7x2 total 14 meter long)
|  | Power Voltage range as per attach file, please select the Country. | YES | YES | AC
|  | Earthing as per attach file. | YES | YES | 0-4 V
|  | Tile Cutting Status under Rack | YES | NO | waitng for Rack Grounding
|  | Airconditioning | YES | YES | Floor Cooling
|  | Network uplink from customer L3 device to Comviva Rack L2 switch | YES | NO | Use Cat-6 Network Cable(Uplink will available during the hardware installation)
|  | Signaling uplink from customer end to comviva Rack | YES | NO | Use Cat-6 Network Cable.(Uplink will available during the hardware installation)
3 | Facilities | Sitting Arrangement for Engineers in Datacenter | YES | YES | Yes
|  | Access for datacenter. | YES | YES | Yes
|  | Power and LAN connections on office spaces available. | YES | YES | Yes
|  | Internet access with messangers in Engineer's Laptops (LAN Ports / IPs) | YES | NO | No
4 | Network | IS working telephone available with STD facility | NO | NO | No
|  | Remote Access via VPN / any remote desktop sharing tool (Ports should be open) | YES | NO | Yes After servers installaton.
|  |  | YES | YES
|  |  | NO | NO
|  |  | Not Applicable | Not Applicable
INDEX

## Thank You
Thank You Visit us at mahindracomviva.com